## Cover & Policy
Legionella Risk Assessment & Water Safety Logbook
Hotel Name
Address
Assessor Name & Position
Assessment Date | 2026-03-13
Review Due
Duty Holder (e.g., GM/Owner)
Responsible Person (Water Safety)
Deputy Responsible Person(s)
Purpose | This workbook records the hotel’s Legionella risk assessment, controls and routine monitoring in line with HSE ACOP L8 & HSG274. Update logs as actions occur and review at least annually or after significant change.
How to use this logbook
1. Complete the Risk Register and assign owners & due dates. 2. Maintain monthly temperature checks and weekly flushing logs. 3. Record showerhead/TMV maintenance quarterly. 4. Log tank/calorifier inspections and any spa/pool tests. 5. Keep training and incident records up to date. 6. Review annually or after system/management changes.

## _Lists (hidden)
Low
Medium
High
Low
Medium
High
Low
Medium
High
Yes
No
N/A
Pass
Fail
N/A
Basin tap
Bath tap
Shower
Kitchen tap
External tap
Other

## Risk Register
Ref | System/Area | Hazard Description | Who Might Be Harmed | Existing Controls | Likelihood | Impact | Overall Risk | Further Action Required | Action Owner | Target Date | Status | Date Closed | Notes

## Actions Tracker
Action ID | Linked Risk Ref | Action Description | Owner | Priority | Target Date | Status | Date Closed | Evidence/Link | Notes

## Monthly Temps
Spec: Hot ≥50°C within 1 min; Cold ≤20°C within 2 min at outlets. Record remedial action if not within spec.
Date | Building/Zone | Outlet ID/Location | Outlet Type | Hot °C @1min | Cold °C @2min | Meets Spec? | Checked By | Remedial Action | Follow-up Due | Closed (Y/N) | Notes

## Weekly Flushing
Flush little-used outlets at least weekly for ~2-5 minutes until temperature stabilises. Record issues and follow-up.
Week Commencing | Outlet ID/Location | Outlet Type | Flushed (Y/N) | By | Issues Found | Remedial Action | Follow-up Due | Closed (Y/N) | Notes

## Showerheads & TMVs
Quarterly: clean/descale showerheads/hoses; check/maintain TMVs; record findings and actions.
Quarter | Area/Room | Outlet ID | Activity | Date | By | Descaled/Cleaned (Y/N) | TMV Checked (Y/N) | Findings | Remedial Action | Closed (Y/N) | Notes

## Tanks & Calorifiers
Inspect tanks/calorifiers; record temps/condition. Conduct disinfection as required.
Date | Asset Type (Tank/Calorifier) | Asset ID/Location | Inspection Type | Temperatures (°C) | Condition/Findings | Disinfection Done (Y/N) | By | Remedial Action | Follow-up Due | Closed (Y/N) | Notes

## Pool & Spa Tests
Date | Facility (Pool/Spa) | Test Type | Result | Within Limits (Y/N) | Corrective Action | By | Retest Date | Notes

## Training Records
Staff Name | Role | Training Type | Provider | Date | Expiry/Review | Certificate (Y/N) | Notes

## Incidents
Date | Area/System | Description (incl. result) | Immediate Actions | Stakeholders Informed | Remedial Actions | By | Retest Date | Outcome/Close Date | Lessons Learned

## Review Log
Review Date | Trigger (Annual/Change/Incident) | Reviewer | Summary of Changes/Findings | Actions Raised | Next Review Due